## Slide 1
GELOFUSIN CAUSES EDEMA FORMATION IN NORMOTHERMICALLY PERFUSED PORCINE KIDNEY GRAFTS
Marlene Pühringer1, Bradley Hovan2, Piper Curtis2, Andrew Capulli2, Joshua Filgate2, Michael Mengel3, Stefan Schneeberger1, Franka Messner1*
1 OrganLifeTM Laboratory, Medical University of Innsbruck, Innsbruck, Austria
2 DEKA Research and Development, Manchester, NH, USA
3 University of Alberta, Edmonton, Alberta, Canada
* Disclosure: Consulting fees for NefroHealth

## Slide 2
Background & Aim
Severe organ shortage, especially in kidney transplantation
NMP may help to increase organ utilization through:
  Organ quality assessment
  Advanced preservation technology
Consensus on preferred perfusion protocol and perfusate composition in kidney NMP is lacking
Medical University of Innsbruck
Kidney waiting list dynamics in Eurotransplant
Eurotransplant Annual Report 2023, https://www.eurotransplant.org/statistics/annual-report/
AIM: Identify a suitable colloid solution for kidney NMP using a novel preservation device

## Slide 3
Methods & Study Design
24 h NMP
NMP for 24 hours in 5 porcine kidney pairs
Continuous flow perfusion with novel prototype kidney NMP device at 90 mmHg
Automated oxygenation and nutrient supply managed by onboard sensors
Perfusate: autologous leukocyte-filtered whole blood +
  5% human albumin
  or
  Gelofusin

## Slide 4
(A) Hemodynamic parameters during NMP. Renal resistance (RR) of porcine kidneys during NMP with whole-blood and albumin vs. whole-blood and gelofusin differed significantly (*p<0.05; median [IQR] displayed). (B) Injury markers in the perfusate rose similarly between groups without reaching statistic significance. (C) Banff grading was zero for most parameters, solely indicating a trend towards mesangial matrix increase (not significant). (D) & (E) In contrast to the Albumin group, the Gelofusin-group showed a significant (*p<0.05) weight gain (delta weight = grams difference before and after NMP) after 24 hours of NMP, potentially accounting for edema formation. (F) These findings are supported by HSI data, assessing micro-perfusion and oxygenation. Significantly higher tissue water-indices were found in the Gelofusin group at 6 and 24 hours of perfusion (*p<0.05; median [IQR] displayed). (G) EGTI scoring reveals minor endothelial swelling in some cases, no changes in glomerular appearance, increasing trend of tubular damage and minor changes in the interstitial space after 24 hours NMP.
Results

## Slide 5
Conclusion
Less weight gain
Significantly lower tissue water-indices